## Slide 1: Usage-Based Preventive Maintenance Planner
Project Analysis & Overview
For High-Value Diagnostic Equipment

## Slide 2: The Problem: Calendar-Based Maintenance
Traditional scheduling relies on fixed calendar intervals.
Ignores real-world factors: equipment utilization, age, and fault history.
Results in unplanned equipment downtime.
Maintenance is often performed too early on low-risk machines.
High-risk machines are serviced too late, jeopardizing continuity.

## Slide 3: Proposed Solution
A data-driven, usage-based preventive maintenance planner.
Focuses on shared high-value medical equipment (MRI, CT scanners).
Dynamically calculates risk based on multifaceted metrics.
Schedules maintenance to minimize disruption to patient bookings.
Ensures operational continuity and reduces unexpected downtime.

## Slide 4: Key Features & Capabilities
Interpretable Risk-Scoring Engine: Configurable by administrators.
Feasible Maintenance Planner: Balances hard and soft constraints.
Synthetic Data Generation: Simulates real-world equipment operations.
Role-Based Access Control (RBAC): Admin, Manager, Technician, Ops.
Override Workflow & Audit Logging: Complete traceability.

## Slide 5: System Architecture & Stack
Frontend: Streamlit (Python) for rapid, interactive UI development.
Backend: Python ecosystem (Pandas, Numpy, scikit-learn).
Database: SQLite for lightweight, reliable data persistence.
Visualization: Plotly for interactive data and risk dashboards.
Quality Assurance: Pytest for unit and integration testing.

## Slide 6: Risk Scoring Engine
Calculates an overall risk score using a weighted sum:
• 30% Utilisation: Wear and tear from heavy usage.
• 20% Age: Older machines pose higher failure risks.
• 20% Fault History: Frequency of recent operational faults.
• 15% Service History: Time elapsed since last maintenance.
• 15% Criticality: Operational importance of the specific device.

## Slide 7: Constraint-Based Planning
Hard Constraints (Non-negotiable):
• Technician availability must be confirmed.
• Must not conflict with existing patient bookings.
• Must fit within the operational window of the center.
Soft Constraints (Optimization):
• Prefers periods of historically low utilization.
• Aims to minimize overall operational disruption.

## Slide 8: Role-Based Workflows
Admin: Manages users, configures risk weights, system settings.
Maintenance Manager: Reviews recommendations, approves schedules.
• Has explicit override capabilities documented via Audit Logs.
Technician: Views assigned maintenance tasks, updates statuses.
Operations Staff: Views overall schedule to plan patient bookings.

## Slide 9: Evaluation & Business Impact
Target Metric: >20% reduction in unplanned downtime.
Methodology: Comparing the usage-based model against a baseline calendar-only schedule.
Impact: Improved equipment availability translates to higher revenue and better patient care.
Dashboards: Provides real-time metrics comparing downtime strategies.

## Slide 10: Future Enhancements
IoT Telemetry Integration: Real-time sensor data for fault detection.
Time-Series Forecasting: AI models to predict precise failure windows.
Multi-Center Deployment: Scaling the platform across hospital networks.
Regulatory Compliance: Integrating manufacturer maintenance requirements.
Advanced Analytics: Deep learning for spare parts inventory optimization.